## COL Monthly Permit Report
Permits Issued By Status
Permit Status | Permit Number | Permit Type | Permit Workclass | Parcel Number | Address | Issue Date | Valuation | Contact
Final | MEP-4933-2023 | MEP Single Trade | Minor Mechanical | 157516006016 | 486 S PIERCE AVE STE E LOUISVILLE, CO 80027 | 2023-12-07 12:37 | 209067 | Murphy
Description: The replaement of the existing compressed air system. Installation of support steel to existing steel structure to support receiver tanks and air dryers. New piping from the new compressors from the finished floor to the above mentioned tanks and dryers on top of the dryroom structure.
| MEP-4936-2023 | MEP Single Trade | Minor Electrical | 157505325017 | 2225 CLIFFROSE LN LOUISVILLE, CO 80027 | 2023-12-07 12:43 | 500 | EV Plug Pros, LLC
Description: Install a 240V 60A hardwired ChargePoint Home Flex EV charger in the garage.
| MEP-4937-2023 | MEP Single Trade | Minor Electrical | 157516006016 | 486 S PIERCE AVE STE E LOUISVILLE, CO 80027 | 2023-12-07 | 30000 | Piper Electric
Description: Supply and install power for (2) new Compressors and (2) new dryers
| MEP-4938-2023 | MEP Single Trade | Solar PV System | 157517303005 | 731 ST ANDREWS LN LOUISVILLE, CO 80027 | 2023-12-08 09:01 | 16524 | Tesla Energy Operations, Inc.
Description: Install 12.15kW roof mounted solar PV system
| MEP-4939-2023 | MEP Single Trade | Gas Line/Meter | 157518240018 | 802 W MULBERRY ST LOUISVILLE, CO 80027 | 2023-12-04 | 1055 | REIGN OF FIRE
Description: INSTALLATION OF A GAS LINE FROM EXISTING 1/2" GAS STUB AT HOUSE TO FIRE PIT
| MEP-4954-2023 | MEP Single Trade | Furnace, Air Conditioner, and/or Water Heater | 157508211020 | 298 JACKSON CIR LOUISVILLE, CO 80027 | 2023-12-01 | 2995 | Local1 Plumbing, Heating and AC
Description: Install 50 gallon water heater
| MEP-4955-2023 | MEP Single Trade | Furnace, Air Conditioner, and/or Water Heater | 157518117001 | 265 S TAFT CT UNIT 37 LOUISVILLE, CO 80027 | 2023-12-01 | 5500 | Soxbury Heating & Cooling LLC
Description: Like for Like AC Replacement 14 Seer
| MEP-4956-2023 | MEP Single Trade | Sewer/Water Repair | 157505307019 | 2082 GARFIELD AVE LOUISVILLE, CO 80027 | 2023-12-01 | 1000 | GoldStar Excavation
Description: Pipe burst new sewer line from yard to city tap
| MEP-4958-2023 | MEP Single Trade | Furnace, Air Conditioner, and/or Water Heater | 157517211012 | 307 S HOOVER AVE LOUISVILLE, CO 80027 | 2023-12-05 | 3600 | Precision Plumbing and Heating
Description: Replace water heater - new 50 gal gas water heater (40MBH/0.63UEF) [like for like replacement]
| MEP-4961-2023 | MEP Single Trade | Furnace, Air Conditioner, and/or Water Heater | 157507409001 | 590 OWL DR LOUISVILLE, CO 80027 | 2023-12-07 | 3714 | Plumbline Services
Description: 40 GAL 40K BTU GAS WATER HEATER UPGRADE
| MEP-4964-2023 | MEP Single Trade | Minor Electrical | 157507322042 | 991 ESTES WAY LOUISVILLE, CO 80027 | 2023-12-07 | 7000 | Arctic Electrical Service and Network Cabling
Description: 200amp service upgrade and Hot Tub hook up.
| MEP-4967-2023 | MEP Single Trade | Furnace, Air Conditioner, and/or Water Heater | 157518112011 | 201 S TYLER AVE LOUISVILLE, CO 80027 | 2023-12-08 | 6854 | Sensible Energy
Description: Replace Furnace and coil
| MEP-4969-2023 | MEP Single Trade | Minor Electrical | 157507109009 | 608 W WILLOW ST LOUISVILLE, CO 80027 | 2023-12-11 09:11 | 9025.3 | Dutch Creek Electric
Description: 50 A dedicated circuit for oven, 60 A dedicated circuit for car charging and SPAN smart electric panel
| MEP-4975-2023 | MEP Single Trade | Furnace, Air Conditioner, and/or Water Heater | 157507129006 | 515 W LINDEN ST LOUISVILLE, CO 80027 | 2023-12-12 | 3500 | Planet Plumbing, Inc.
Description: replace the failed gas WH with like model
| MEP-4983-2023 | MEP Single Trade | Sewer/Water Repair | 157508421003 | 1205 SPRUCE ST LOUISVILLE, CO 80027 | 2023-12-18 | 3000 | Afford-A-Rooter
Description: **EMERGENCY REPAIR** Repair on the sewer line to the city tap,, street and yard
| MEP-4988-2023 | MEP Single Trade | Furnace, Air Conditioner, and/or Water Heater | 157505316006 | 1736 REGAL CT LOUISVILLE, CO 80027 | 2023-12-19 | 950 | Centennial Plumbing and Heating
Description: Replacing water heater for like 40 gl water for Boulder County Housing Authority
| MISC-9849-2023 | Minor | Fence | 157507315019 | 967 ARAPAHOE CIR LOUISVILLE, CO 80027 | 2023-12-08 | 4800 | Gen 3 Homes, LLC
Description: New backyard fence, 6 ft height for property destroyed in Marshall fire. One gate of equal height adjacent to garage.
| MISC-9907-2023 | Minor | Deck or Pergola | 157519109014 | 812 SPYGLASS CIR LOUISVILLE, CO 80027 | 2023-12-04 | 12000 | Essex Develpoments, LLC
Description: Add two pergolas to backyard concrete patio. One pergola is about 19'x13', the other about 10'x13'.
| MISC-9926-2023 | Minor | Fence | 157712406005 | 1153 W ENCLAVE CIR LOUISVILLE, CO 80027 | 2023-12-06 | 19000 | Earth Green Fence
Description: Applying for fencing permit. Same fence and constrution as already approved for neighbors at 1159 & 1161 W Enclave Cir. 6ft high privacy with top rail and vertical slat panels. Meets PUD requirements
| MISC-9931-2023 | Minor | Fence | 157712406004 | 1155 W ENCLAVE CIR LOUISVILLE, CO 80027 | 2023-12-22 16:46 | 9500 | Earth Green Fence
Description: Install 150 linear feet of 6'-0" high vinyl fence along the east property line. See attached site plan
| MISC-9938-2023 | Minor | Fence | 157507316012 | 949 ARAPAHOE CIR LOUISVILLE, CO 80027 | 2023-12-05 | 6760.33 | Count On Me Services LLC
Description: 6' Regular cedar privacy fence on both sides of the house with two gates. One on each side of the house and 4' 50% spaced garden fence for front house sides of driveway.
| MISC-9942-2023 | Minor | Fence | 157712404009 | 1135 W ENCLAVE CIR LOUISVILLE, CO 80027 | 2023-12-04 | 6900 | Boulder Fence, LLC
Description: 230 ft of 6 ft tall vinyl privacy fence, Tan color per landscape plan location
| MISC-9961-2023 | Minor | Fence | 157507317012 | 953 SUNFLOWER ST LOUISVILLE, CO 80027 | 2023-12-20 | 4000 | Mchugh Homes Inc.
Description: New 6' cedar privacy fence across rear, west property lines to front corner of house and new gates on each side of house (at corner - not in front setback or ROW. Neighbor to the east already has fence along property line - will remain - nothing new there.
| MISC-9963-2023 | Minor | Fence | 157507317003 | 905 SUNFLOWER ST LOUISVILLE, CO 80027 | 2023-12-20 | 5600 | Tinker Homes Inc
Description: Replace old fence that burned down
| MISC-9964-2023 | Minor | Fence | 157507317002 | 903 SUNFLOWER ST LOUISVILLE, CO 80027 | 2023-12-20 | 6000 | Tinker Homes Inc
Description: Replace burned down fence
| MISC-9971-2023 | Minor | Fence | 157519105003 | 934 ST ANDREWS LN LOUISVILLE, CO 80027 | 2023-12-18 | 19959 | SolMauna
Description: Install Trex fire resistant fence in color and style approved by Coal Creek Ranch HOA around back yard, replacing cedar fence lost in Marshall Fire
| MISC-9977-2023 | Minor | Fence | 157519104011 | 1004 TURNBERRY CIR LOUISVILLE, CO 80027 | 2023-12-19 | 4314 | Integrity Fencing Company LLC
Description: 85ft of 6' Trex Fence and (2) 4ft wide gates
| MISC-9978-2023 | Minor | Fence | 157519108017 | 952 ST ANDREWS LN LOUISVILLE, CO 80027 | 2023-12-27 | 7170 | A & B Quality Fence LLC
Description: 6 ft cedar fence on backyard and west side yard. Neighbor is already building fence on east side yard. See enclosed.
Issued | COM-0685-2023 | Commercial | Tenant Finish or Minor Commercial Work | 157516008004 | 1753 BOXELDER ST LOUISVILLE, CO 80027 | 2023-12-05 17:07 | 125000 | Armie Management, LLC
Description: Adding a prefab cleanroom and enclosing a portion of the warehouse to create a sound dampening room for testing equipment. Also adding additional bathrooms in the warehouse area.
| COM-0697-2023 | Commercial | Tenant Finish or Minor Commercial Work | 157516035001 | 197 S 104TH ST STE A LOUISVILLE, CO 80027 | 2023-12-20 | 223000 | Turn Key General Contractors Inc.
Description: Installation of spiral cooler for cooling bread from the ovens. Will have new sanitary drain connection, structural steel for supporting the conveyor system, electrical to power the equipment and a concrete pad for chiller.
| COM-0706-2023 | Commercial | Tenant Finish or Minor Commercial Work | 157713015002 | 285 CENTURY PL STE 200 LOUISVILLE, CO 80027 | 2023-12-13 | 200000 | Rand Construction Corporation
Description: Minor demolition of finishes, new doors, updated finishes, and a new cooling unit for the IT room.
| COM-0706-2023 | Commercial | Tenant Finish or Minor Commercial Work | 157713015002 | 285 CENTURY PL STE 200 LOUISVILLE, CO 80027 | 2023-12-13 | 200000 | rand construction corporation
Description: Minor demolition of finishes, new doors, updated finishes, and a new cooling unit for the IT room.
| COM-0706-2023 | Commercial | Tenant Finish or Minor Commercial Work | 157713015002 | 285 CENTURY PL STE 200 LOUISVILLE, CO 80027 | 2023-12-13 | 200000 | rand construction
Description: Minor demolition of finishes, new doors, updated finishes, and a new cooling unit for the IT room.
| COM-0713-2023 | Commercial | Tenant Finish or Minor Commercial Work | 157505417001 | 1818 CENTENNIAL DR LOUISVILLE, CO 80027 | 2023-12-29 | 10000 | Roof Evolution
Description: Install a new door
| COM-0713-2023 | Commercial | Tenant Finish or Minor Commercial Work | 157505417001 | 1818 CENTENNIAL DR LOUISVILLE, CO 80027 | 2023-12-29 | 10000 | Roof Evolution
Description: Install a new door
| MEP-4695-2023 | MEP Single Trade | Solar PV System | 157519105005 | 930 ST ANDREWS LN LOUISVILLE, CO 80027 | 2023-12-19 | 20839 | Namaste Solar
Description: Installation of a grid-tied, flush mount 8.505 kW PV solar system.
| MEP-4771-2023 | MEP Single Trade | Solar PV System | 157712404028 | 1115 W ENCLAVE CIR LOUISVILLE, CO 80027 | 2023-12-08 | 31300 | Meyer Electric
Description: Grid-Tie Rooftop Solar PV with Battery Backup Marshall Fire Rebuild
| MEP-4874-2023 | MEP Single Trade | Solar PV System | 157504305001 | 2005 LAKESPUR LN LOUISVILLE, CO 80027 | 2023-12-07 16:51 | 37500 | Energy Insight
Description: Roof top Flush mounted solar PV system. no batteries
| MEP-4917-2023 | MEP Single Trade | Solar PV System | 157505304015 | 2146 GARFIELD AVE LOUISVILLE, CO 80027 | 2023-12-01 15:25 | 9047.77 | Tesla Energy Operations, Inc.
Description: Install additional 13.5kWh Tesla Powerwall Energy Storage System with existing PV and ESS on site.
| MEP-4920-2023 | MEP Single Trade | Solar PV System | 157518245009 | 125 CHERRYWOOD LN LOUISVILLE, CO 80027 | 2023-12-08 | 21745 | Namaste Solar
Description: Installation of a grid-tied, flush mount 10.6 kW PV solar system.
| MEP-4923-2023 | MEP Single Trade | Solar PV System | 157517301048 | 330 DIAMOND CIR LOUISVILLE, CO 80027 | 2023-12-07 12:33 | 35880 | Sunrun Installation Services Inc
Description: PV Solar / Roof Mounted / Flush Mounted / 15.2 kW / 38 panels
| MEP-4925-2023 | MEP Single Trade | Solar PV System | 157517303003 | 751 ST ANDREWS LN LOUISVILLE, CO 80027 | 2023-12-07 | 16524 | Tesla Energy Operations, Inc.
Description: Install 12.15kW roof mounted solar PV system
| MEP-4929-2023 | MEP Single Trade | Solar PV System | 157507322012 | 837 TRAIL RIDGE DR LOUISVILLE, CO 80027 | 2023-12-07 | 43614 | Freedom Forever Colorado, LLC.
Description: Install a 17.600 kW grid tied, roof flush mounted solar photovoltaic system.
| MEP-4941-2023 | MEP Single Trade | Solar PV System | 157712404020 | 1202 W PINE CT LOUISVILLE, CO 80027 | 2023-12-29 | 73000 | Happy Solar
Description: Install a roof mounted utility interactive solar pv system consisting of 74 solar panels (30.34 kW DC) and a battery back up system.
| MEP-4947-2023 | MEP Single Trade | Gas Line/Meter | 157519105017 | 463 MUIRFIELD CIR LOUISVILLE, CO 80027 | 2023-12-04 | 1315 | The Gas Connection
Description: Installation of underground gas line from meter to fire pit location.
| MEP-4952-2023 | MEP Single Trade | Solar PV System | 157505303023 | 2348 MCKINLEY AVE LOUISVILLE, CO 80027 | 2023-12-11 | 30068 | Smart Wave Solar LLC
Description: roof mounted solar installation 10.08 kW 24 x REC 420 watts solar panels 24 x iq7x enphase microinverters
| MEP-4953-2023 | MEP Single Trade | Solar PV System | 157508302006 | 301 WALNUT ST LOUISVILLE, CO 80027 | 2023-12-08 | 30502 | Independent Power Systems
Description: Roof mounted solar photovoltaic system; System size: 8.1kw with service change PV MODULES: (20) REC405AA INVERTER(S): (20) ENPHASE IQ8PLUS-72-2-US
| MEP-4957-2023 | MEP Single Trade | Furnace, Air Conditioner, and/or Water Heater | 157518333003 | 544 RIDGE VIEW DR LOUISVILLE, CO 80027 | 2023-12-04 | 7103 | Cooper Heating & Cooling Inc
Description: install replacement 96% 40k btu furnace
| MEP-4959-2023 | MEP Single Trade | Furnace, Air Conditioner, and/or Water Heater | 157507207002 | 1388 KENNEDY AVE LOUISVILLE, CO 80027 | 2023-12-05 | 17118.43 | Blue Valley Heating and Cooling
Description: Installation of a Bosch Cold Climate 2 Ton/60k BTU Dual Fuel System. Subcontracted electrical work
| MEP-4960-2023 | MEP Single Trade | Furnace, Air Conditioner, and/or Water Heater | 157518424001 | 604 N MANORWOOD LN LOUISVILLE, CO 80027 | 2023-12-06 | 2674 | Plumbline Services
Description: 50 GAL 40K BTU WATER HEATER
| MEP-4963-2023 | MEP Single Trade | Furnace, Air Conditioner, and/or Water Heater | 157505325022 | 2279 CLIFFROSE LN LOUISVILLE, CO 80027 | 2023-12-07 | 2189 | Plumbline Services
Description: 40 GAL 40K BTU GAS WATER HEATER UPGRADE
| MEP-4965-2023 | MEP Single Trade | Minor Electrical | 157507322043 | 987 ESTES WAY LOUISVILLE, CO 80027 | 2023-12-07 16:51 | 5000 | Arctic Electrical Service and Network Cabling
Description: 200amp service upgrade
| MEP-4966-2023 | MEP Single Trade | Furnace, Air Conditioner, and/or Water Heater | 157506315015 | 1820 CONTINENTAL VIEW DR LOUISVILLE, CO 80027 | 2023-12-08 | 6378.6 | Now Heating & Air
Description: replacing old unit with new Navien combi boiler
| MEP-4970-2023 | MEP Single Trade | Solar PV System | 157507316010 | 939 ARAPAHOE CIR LOUISVILLE, CO 80027 | 2023-12-18 | 20599 | Smart Wave Solar LLC
Description: roof mounted solar installation 7.56 kW 18 x REC 420 watts solar panels 1 x 7.6 kW Tesla inverter
| MEP-4971-2023 | MEP Single Trade | Minor Mechanical | 157518312003 | 624 RIDGE VIEW DR LOUISVILLE, CO 80027 | 2023-12-12 | 7331 | Midwest Appliance and HVAC
Description: Install 2.5 Ton Mitsubishi Ducted Heat Pump System. Condenser Model# PUZ-HA30NKA, AHU Model# PVA-A30AA7.
| MEP-4972-2023 | MEP Single Trade | Furnace, Air Conditioner, and/or Water Heater | 157518247028 | 855 W MULBERRY ST LOUISVILLE, CO 80027 | 2023-12-12 16:23 | 23273 | Northern Colorado Energy Solutions, LLC
Description: replacement heat pump installation Omega Electrical is doing the electrical Electrical valuation: $1,800
| MEP-4973-2023 | MEP Single Trade | Furnace, Air Conditioner, and/or Water Heater | 157508202051 | 1612 COTTONWOOD DR UNIT 14W LOUISVILLE, CO 80027 | 2023-12-12 | 4440 | H&M Mechanical LLC
Description: install 45,000 btu 80% furnace. Chad Root granted a hardship variance so the 80% furnace could be installed
| MEP-4974-2023 | MEP Single Trade | Solar PV System | 157517201020 | 265 LOIS CIR LOUISVILLE, CO 80027 | 2023-12-18 | 8184 | Smart Wave Solar LLC
Description: roof mounted solar installation 3.2 kW 8 x mission m solar 400 watts solar panels 1 x 3.8 kW Tesla inverter
| MEP-4976-2023 | MEP Single Trade | Furnace, Air Conditioner, and/or Water Heater | 157508104010 | 1606 SUNSET DR LOUISVILLE, CO 80027 | 2023-12-12 | 2304 | Plumbline Services
Description: 50 GAL 40K BTU GAS WATER HEATER UPGRADE
| MEP-4977-2023 | MEP Single Trade | Solar PV System | 157519104009 | 1024 TURNBERRY CIR LOUISVILLE, CO 80027 | 2023-12-18 | 60848.51 | Independent Power Systems
Description: Roof mounted solar photovoltaic system with battery storage; System size: 6.08kw; (15) REC 405AA PURE BLACK Modules (15) IQ8M 72-2-US(240V) SINGLE-PHASE MICROINVERTER BATTERY INVERTER MODEL: (1)SOL ARK 15K-2P-N BATTERY MODEL: HUMLESS 20KWH LITHIUM-IRON PHOSPHATE
| MEP-4978-2023 | MEP Single Trade | Solar PV System | 157517302008 | 750 PINEHURST CT LOUISVILLE, CO 80027 | 2023-12-18 | 16524 | Tesla Energy Operations, Inc.
Description: Install 12.15kW roof mounted solar PV system
| MEP-4979-2023 | MEP Single Trade | Solar PV System | 157507434005 | 714 NIGHTHAWK CIR LOUISVILLE, CO 80027 | 2023-12-18 | 10300 | Smart Wave Solar LLC
Description: roof mounted solar installation 3.78 kW 9 x REC 420 watts solar panels 1 x 3.8 kW Tesla inverter
| MEP-4982-2023 | MEP Single Trade | Furnace, Air Conditioner, and/or Water Heater | 157517211028 | 302 LILAC CIR LOUISVILLE, CO 80027 | 2023-12-18 | 5314 | Save Home Heat Company
Description: Replace a standard tank style water heater with a Navien tankless water heater.
| MEP-4985-2023 | MEP Single Trade | Furnace, Air Conditioner, and/or Water Heater | 157518247028 | 855 W MULBERRY ST LOUISVILLE, CO 80027 | 2023-12-18 | 4651.85 | Midwest Appliance and HVAC
Description: Removal of existing water Heater and installation of new AO Smith 65 Gallon Heat Pump Water Heater Model# HPTS-66.
| MEP-4987-2023 | MEP Single Trade | Furnace, Air Conditioner, and/or Water Heater | 157508481019 | 400 LINCOLN CT LOUISVILLE, CO 80027 | 2023-12-18 | 2304 | Plumbline Services
Description: 50 GAL 40K BTU GAS WATER HEATER UPGRADE
| MEP-4990-2023 | MEP Single Trade | Sewer/Water Repair | 157508220036 | 274 GRIFFITH ST LOUISVILLE, CO 80027 | 2023-12-20 15:45 | 5850 | IQ Sewer Tech LLC
Description: excavate and repair up to 50 feet of existing sewer service line from the house to the street.
| MEP-4991-2023 | MEP Single Trade | Minor Electrical | 157508319014 | 247 HOOVER CT LOUISVILLE, CO 80027 | 2023-12-20 | 7000 | Red Fox Electric Inc.
Description: Replace outdated main electrical panel and install new EV charger circuit
| MEP-4992-2023 | MEP Single Trade | Gas Line/Meter | 157519105032 | 493 MUIRFIELD CT LOUISVILLE, CO 80027 | 2023-12-21 16:47 | 1155 | The Gas Connection
Description: Installation of underground gas line from meter to fire pit location
| MEP-4995-2023 | MEP Single Trade | Minor Electrical | 157507424026 | 934 GROVE DR LOUISVILLE, CO 80027 | 2023-12-22 | 4750 | Omega Electrical Services
Description: Upgrade panel to 200A
| MEP-4997-2023 | MEP Single Trade | Furnace, Air Conditioner, and/or Water Heater | 157507304004 | 1044 MEADOW CT LOUISVILLE, CO 80027 | 2023-12-22 | 6596 | Save Home Heat Company
Description: Install a new Mitsubishi single zone mini split heat pump system. 18,000 BTU. 21 SEER / 12.5 EER.
| MEP-4999-2023 | MEP Single Trade | Sewer/Water Repair | 157507314010 | 942 LARKSPUR LN LOUISVILLE, CO 80027 | 2023-12-27 | 8800 | Trench Right SPV LLC DBA Trench Right Colorado
Description: 8' SEWER REPAIR IN FRONT YARD AND INSTALL CLEANOUTS; 8' DEEP WORK IS IN THE YARD ONLY, NO WORK IN ROW SDR 35, STRONGBACK COUPLINGS, SQUEEGEEE
| MEP-5002-2023 | MEP Single Trade | Minor Electrical | 157508406005 | 677 WALNUT ST LOUISVILLE, CO 80027 | 2023-12-27 | 3800 | Simpson Electric Inc
Description: Service Change from 100 amp to 200 amp meter main with new overhead approved by Xcel
| MEP-5003-2023 | MEP Single Trade | Furnace, Air Conditioner, and/or Water Heater | 157508200003 | 400 W SOUTH BOULDER RD UNIT 65 LOUISVILLE, CO 80027 | 2023-12-29 13:29 | 7865 | Compass Heating and Cooling
Description: replace furnace
| MEP-5008-2023 | MEP Single Trade | Furnace, Air Conditioner, and/or Water Heater | 157508329005 | 130 W PINE ST LOUISVILLE, CO 80027 | 2023-12-29 13:30 | 2764 | Plumbline Services
Description: 40 GAL 40K BTU GAS WATER HEATER UPGRADE
| MEP-5009-2023 | MEP Single Trade | Sewer/Water Repair | 157508220036 | 274 GRIFFITH ST LOUISVILLE, CO 80027 | 2023-12-29 13:31 | 7623 | Dig Boss, LLC
Description: 28' Sewer service line repair in the front yard. We will be installing a set of clean outs.
| MISC-10001-2023 | Minor | Re-Siding | 157508480002 | 723 WEST ST LOUISVILLE, CO 80027 | 2023-12-20 | 54000 | 5280 Exteriors
Description: remove and replace 25 squares of James Hardie siding
| MISC-9693-2023 | Minor | Sign | 157519112002 | 100 HEALTH PARK DR LOUISVILLE, CO 80027 | 2023-12-14 | 31850 | BRIGHT SIGN SOLUTIONS
Description: INSTALL VARIOUS NEW SIGNS FOR ADVENT HEALTH.
| MISC-9693-2023 | Minor | Sign | 157519112002 | 100 HEALTH PARK DR LOUISVILLE, CO 80027 | 2023-12-14 | 31850 | Bright Sign Solutions
Description: INSTALL VARIOUS NEW SIGNS FOR ADVENT HEALTH.
| MISC-9773-2023 | Minor | Foundation Repair | 157507203046 | 1430 KENNEDY AVE LOUISVILLE, CO 80027 | 2023-12-21 10:50 | 14471 | DBS Inc DBA Colorado Structural Repair
Description: Installing 3 wall braces on inside of north garage wall. Adding full width bearing top to existing beam support post, and plumb posts.
| MISC-9947-2023 | Minor | Deck or Pergola | 157507320022 | 816 PIKES PEAK CT LOUISVILLE, CO 80027 | 2023-12-06 | 25000 | Barefoot Decks
Description: Deck Project Remove existing wood deck and replace with new composite deck Decking and fascia to be Timbertech Reserve Dark roast. Decking to be attached using hidden fasteners. Some face screws are necessary. Framing to be upgraded to #2 pressure treated Treated wood is ground contact rated. All hardware is galvanized. . Piers to be upgraded to helical and installed to engineers specs
| MISC-9951-2023 | Minor | Sign | 157504074002 | 1413 HECLA WAY LOUISVILLE, CO 80027 | 2023-12-20 | 6500 | Concept Signs & Graphics
Description: We are looking to install a wall mounted sign cabinet
| MISC-9952-2023 | Minor | Demolition - Interior Only | 157518239020 | 122 VISTA LN LOUISVILLE, CO 80027 | 2023-12-06 | 34000 | Built by Krueger
Description: Demolition of interior of home.
| MISC-9952-2023 | Minor | Demolition - Interior Only | 157518239020 | 122 VISTA LN LOUISVILLE, CO 80027 | 2023-12-06 | 34000 | Built By Krueger
Description: Demolition of interior of home.
| MISC-9975-2023 | Minor | Retaining Wall | 157519106010 | 359 TROON CT LOUISVILLE, CO 80027 | 2023-12-19 | 225670.63 | Miller Wall Company
Description: Construction of (1) new Retaining Wall with a max height of 14.7'
| MISC-9982-2023 | Minor | Re-Siding | 157518105015 | 256 S MADISON AVE LOUISVILLE, CO 80027 | 2023-12-01 | 4900
Description: Stone and stucco work does not include covered awning and portico
| MISC-9998-2023 | Minor | Re-Siding | 157518341015 | 550 ORCHARD DR LOUISVILLE, CO 80027 | 2023-12-19 | 35000 | 5280 Exteriors
Description: Remove and replace 22 squares of James Hardie siding
| MISC-9999-2023 | Minor | Deck or Pergola | 157517304012 | 587 AUGUSTA LN LOUISVILLE, CO 80027 | 2023-12-22 16:45 | 18000 | Barefoot Decks
Description: all structures are existing. replace decking and Railing only. Randy met me at the job site and approved existing frame.
| RES-3316-2023 | Residential | Marshall Fire - Single Family Detached | 157712405014 | 1110 W ENCLAVE CIR LOUISVILLE, CO 80027 | 2023-12-13 | 2000000 | Horizon West Builders, Inc.
Description: R-3 Single Family Residence, Building Type V-B
| RES-3486-2023 | Residential | Marshall Fire - Single Family Detached | 157507322066 | 854 TRAIL RIDGE DR LOUISVILLE, CO 80027 | 2023-12-18 | 905000 | Wood Brothers Homes, LLC
Description: New Construction SFD
| RES-3491-2023 | Residential | Marshall Fire - Single Family Detached | 157507316007 | 925 ARAPAHOE CIR LOUISVILLE, CO 80027 | 2023-12-27 | 629134 | Homebound Technologies, Inc.
Description: Marshall Fire Rebuilding 2021 IECC No Fire Sprinklers
| RES-3495-2023 | Residential | Remodel | 157508405001 | 937 LAFARGE AVE LOUISVILLE, CO 80027 | 2023-12-05 | 308000 | Snyder Constructors
Description: Methamphetamine & Asbestos Abatement, Living Room Floor Joist Repair, Furnace & Heat Run Replace, Insulation, Drywall, Cosmetic Finishes.
| RES-3496-2023 | Residential | Marshall Fire - Single Family Detached | 157712404014 | 1222 W PINE CT LOUISVILLE, CO 80027 | 2023-12-21 | 1040000 | Cathy G. Hanson Design
Description: Rebuild Single Family Detached
| RES-3501-2023 | Residential | Marshall Fire - Single Family Detached | 157518239026 | 110 VISTA LN LOUISVILLE, CO 80027 | 2023-12-19 12:50 | 1100000 | Bridgefield Homes Inc.
Description: new residence
| RES-3506-2023 | Residential | Addition | 157508435008 | 612 JEFFERSON AVE LOUISVILLE, CO 80027 | 2023-12-27 | 453700
Description: Residential remodel of existing home; new covered front porch; new deck at rear of house; new siding and windows; new full depth basement beneath existing home and to extents of existing footprint; demo fiberglass carport and 33sf shed in rear yard;
| RES-3506-2023 | Residential | Addition | 157508435008 | 612 JEFFERSON AVE LOUISVILLE, CO 80027 | 2023-12-27 | 453700
Description: Residential remodel of existing home; new covered front porch; new deck at rear of house; new siding and windows; new full depth basement beneath existing home and to extents of existing footprint; demo fiberglass carport and 33sf shed in rear yard;
| RES-3514-2023 | Residential | Marshall Fire - Single Family Detached | 157507316008 | 931 ARAPAHOE CIR LOUISVILLE, CO 80027 | 2023-12-28 09:48 | 750000 | Homebound Technologies, Inc.
Description: Marshall Fire Rebuild 2803 SF Total Living 6 Bedroom 3.5 Bath 2021 IECC with Appendix RC No Fire Sprinklers
| RES-3519-2023 | Residential | Marshall Fire - Single Family Detached | 157712407003 | 1156 HILLSIDE LN LOUISVILLE, CO 80027 | 2023-12-20 | 728280
Description: New / rebuild of single family detached home with finished & unfinished basement and 765 sq. ft. attached garage
| RES-3519-2023 | Residential | Marshall Fire - Single Family Detached | 157712407003 | 1156 HILLSIDE LN LOUISVILLE, CO 80027 | 2023-12-20 | 728280 | Boulder Creek Neighborhoods
Description: New / rebuild of single family detached home with finished & unfinished basement and 765 sq. ft. attached garage
| RES-3519-2023 | Residential | Marshall Fire - Single Family Detached | 157712407003 | 1156 HILLSIDE LN LOUISVILLE, CO 80027 | 2023-12-20 | 728280 | Boulder Creek Neighborhoods
Description: New / rebuild of single family detached home with finished & unfinished basement and 765 sq. ft. attached garage
| RES-3519-2023 | Residential | Marshall Fire - Single Family Detached | 157712407003 | 1156 HILLSIDE LN LOUISVILLE, CO 80027 | 2023-12-20 | 728280 | Boulder Creek Builders
Description: New / rebuild of single family detached home with finished & unfinished basement and 765 sq. ft. attached garage
| RES-3525-2023 | Residential | Remodel | 157508476002 | 594 WEST ST LOUISVILLE, CO 80027 | 2023-12-01 | 200000 | Da Vinci Construction and Design
Description: Interior remodel. Removal of interior walls but the loadbearing walls will remain. All bathrooms and kitchens will be gutted and replaced. Locations to remain the same. Mostly interior finishes. Windows and siding to remain. Replacing the back patio door with a larger door, engineer to provide header details. Ceiling height in the master bedroom will be increasing. Included engineers, drawings, and architectural drawings.
| RES-3536-2023 | Residential | Remodel | 157507403013 | 540 CATALPA CT LOUISVILLE, CO 80027 | 2023-12-08 12:11 | 96000 | Rocky Mountain Improvements, LLC
Description: Interior kitchen remodel - update cabinets, elec., flooring, base and case. Bathroom remodel - 1sr floor bathroom new shower pan, mixing valve, wall tile, vanity.
| RES-3547-2023 | Residential | Remodel | 157518234020 | 902 S PALISADE CT LOUISVILLE, CO 80027 | 2023-12-08 10:15 | 3988.6 | Bestway Insulation, LLC
Description: #NSSANC Marshall Fire Replace Attic Insulation with Cellulose product #NSSANC
| RES-3547-2023 | Residential | Remodel | 157518234020 | 902 S PALISADE CT LOUISVILLE, CO 80027 | 2023-12-08 10:15 | 3988.6 | Bestway Insulation, LLC
Description: #NSSANC Marshall Fire Replace Attic Insulation with Cellulose product #NSSANC
| RES-3551-2023 | Residential | Remodel | 157507424028 | 920 GROVE DR LOUISVILLE, CO 80027 | 2023-12-11 | 1925.11 | Yellow Wood Inc DBA Koala Insulation of Boulder
Description: Installing R-19 fiberglass batt and blowing in fiberglass insulation in the attic to achieve R-60. Installing weather stripping around attic hatch.
| RES-3564-2023 | Residential | Remodel | 157508402003 | 932 MAIN ST LOUISVILLE, CO 80027 | 2023-12-21 | 7872.1 | Bestway Insulation, LLC
Description: Add additional insulation in attic with cellulose product # NSSANC to bring to R-60